Please provide paragraph number and place an X in the appropriate box.

| Paragraph Number | 12.02 (f) |
| --- | --- |

| New Standard |  | Revision |  | Deletion |  |
| --- | --- | --- | --- | --- | --- |

Paragraph (State the paragraph exactly as it appears in the manual).

(12.02) Sanitary Systems, Facilities and Fixtures (f) In secure housing areas there shall be at least one sink and one toilet in each cell. Dormitories and multiple occupancy cells shall have at least one toilet and one sink for each twelve (12) inmates or fraction thereof. One shower head with tempered water shall be provided for each 16 inmates or fraction thereof.

Proposal (State the paragraph exactly as you believe it should appear in the manual).

16.02 Each single cell will contain at least: A sink with cold and either hot or tempered running water; Flushable toilet; 16.03 All other housing areas shall provide a minimum of: Toilets and sinks in the ratio of a minimum of 1 to 12 inmates. Urinals may be substituted for up to one-half of the toilets in male housing units; Shower facilities in the ratio of a minimum of 1 to 16 inmates; 16.09 Plumbing Showers shall have tempered running water under pressure and shall be available for inmates to take showers at least twice weekly (daily access to showers is preferred). The hot water supply to the shower shall not exceed 120 degrees Fahrenheit to prevent scalding. Sinks will have cold and either hot or tempered running water.

Rationale for revision.

Moves sinks, toilets, and shower requirements to the new physical plant chapter. Separates requirements for single cells and dormitories. Eliminates duplication on showers and water temperature.

| Proposed By: |
| --- |
| Name: | FMJS Task Force |
| Agency: |  |
| Address: |  |
| City: |  | Sate: |  | Zip: |  |
| Phone: |  |
| Signature: |  |

Forward to:  Sgt. David Harvey; Jacksonville Sheriff’s Office, 500 East Adams Street, Jacksonville, FL 32202

Phone: (904) 630-5724		Fax: (904) 630-3622	Email: David.Harvey@jaxsheriff.org

Standards/Medical Review Subcommittee Recommendation:

Approve: Disapprove: Approve with Changes: Justification:

FMJS Committee Action:

Approved: Disapproved: No Motion: Approved with Changes: Tabled: Changes Include:

Assigned to Subcommittee:

Compliance: Medical Revision: Standards Revision: Training: Subcommittee Instructions:

# Text boxes

FLORIDA MODEL

JAIL STANDARDS

STANDARDS REVISION FORM