Please provide paragraph number and place an X in the appropriate box.

| Paragraph Number | 12.05 (b) and 5.08 (b) (4) |
| --- | --- |

| New Standard |  | Revision |  | Deletion |  |
| --- | --- | --- | --- | --- | --- |

Paragraph (State the paragraph exactly as it appears in the manual).

(12.05) Housing (b) All areas of the detention facility other than closets or cabinets shall be well lighted. Cell areas, dormitories, toilets, and day rooms shall have light fixtures capable of providing at least 20 foot candles of illumination to permit observation, cleaning, maintenance, and reading. Light fixtures shall be kept clean and maintained. The following housing standards apply to all facilities b. Each single cell will contain: Artificial lighting which is of at least 20 foot-candles at 30 inches above the ffloor for reading purposes;

Proposal (State the paragraph exactly as you believe it should appear in the manual).

16.07 All areas of the detention facility other than closets or cabinets shall be well lighted. Cell areas, dormitories, toilets, and day rooms shall have light fixtures capable of providing at least 20 foot candles of illumination at 30 inches above the floor to permit observation, cleaning, maintenance, and reading. 16.13 Repair and Maintenance – The following items will be properly maintained and repaired: Light fixtures 12.01 Light fixtures shall be kept clean.

Rationale for revision.

An example of duplicate standards on the same topic. Moves the requirements physical plant and repair and maintenance to the new physical plant chapter. Moves sanitation requirements to the sanitation chapter.

| Proposed By: |
| --- |
| Name: | FMJS Task Force |
| Agency: |  |
| Address: |  |
| City: |  | Sate: |  | Zip: |  |
| Phone: |  |
| Signature: |  |

Forward to:  Sgt. David Harvey; Jacksonville Sheriff’s Office, 500 East Adams Street, Jacksonville, FL 32202

Phone: (904) 630-5724		Fax: (904) 630-3622	Email: David.Harvey@jaxsheriff.org

Standards/Medical Review Subcommittee Recommendation:

Approve: Disapprove: Approve with Changes: Justification:

FMJS Committee Action:

Approved: Disapproved: No Motion: Approved with Changes: Tabled: Changes Include:

Assigned to Subcommittee:

Compliance: Medical Revision: Standards Revision: Training: Subcommittee Instructions:

# Text boxes

FLORIDA MODEL

JAIL STANDARDS

STANDARDS REVISION FORM