Please provide paragraph number and place an X in the appropriate box.

| Paragraph Number | 12.11 |
| --- | --- |

| New Standard |  | Revision |  | Deletion |  |
| --- | --- | --- | --- | --- | --- |

Paragraph (State the paragraph exactly as it appears in the manual).

(12.11) Industries – Industrial areas shall be kept clean. Noise levels shall not exceed an average of 90 dBA on a time weighted average for an eight hour day as measured on the A scale of a sound level meter set at slow response, unless proper ear protection is provided. Thirty foot candles of illumination shall be provided at task level. Adequate ventilation shall be provided to prevent exposure to dust and toxic gases or fumes.

Proposal (State the paragraph exactly as you believe it should appear in the manual).

12.14 Industrial areas shall be kept clean. 16.12 Industrial areas: Noise levels shall not exceed an average of 90 dBA on a time weighted average for an eight hour day as measured on the A scale of a sound level meter set at slow response, unless proper ear protection is provided. Thirty foot candles of illumination shall be provided at task level. Adequate ventilation shall be provided to prevent exposure to dust and toxic gases or fumes.

Rationale for revision.

Separates physical plant and sanitation requirements.

| Proposed By: |
| --- |
| Name: | FMJS Task Force |
| Agency: |  |
| Address: |  |
| City: |  | Sate: |  | Zip: |  |
| Phone: |  |
| Signature: |  |

Forward to:  Sgt. David Harvey; Jacksonville Sheriff’s Office, 500 East Adams Street, Jacksonville, FL 32202

Phone: (904) 630-5724		Fax: (904) 630-3622	Email: David.Harvey@jaxsheriff.org

Standards/Medical Review Subcommittee Recommendation:

Approve: Disapprove: Approve with Changes: Justification:

FMJS Committee Action:

Approved: Disapproved: No Motion: Approved with Changes: Tabled: Changes Include:

Assigned to Subcommittee:

Compliance: Medical Revision: Standards Revision: Training: Subcommittee Instructions:

# Text boxes

FLORIDA MODEL

JAIL STANDARDS

STANDARDS REVISION FORM